#130 Channel Slot

SECTION 04 00 00 MASONRY

Section 04 05 19.16 Masonry Anchors

Section 05 12 00 Structural Steel Framing

PART 1: GENERAL

1.1 RELATED SECTIONS

A. Provide shop drawings for all product locations.

1.2 SUBMITTALS

A. Manufacturer Certificate of Compliance for materials.

B. Product Data: Manufacturer’s data sheet on each type of product 					    furnished.

PART 2: MANUFACTURER

2.1 MANUFACTURER

Acceptable Manufacturer:

Heckmann Building Products

110 Richards Ave.

Norwalk, CT 06854-1685

800-621-4140

Email: info@heckmannanchors.com

Website:  www.heckmannanchors.com

2.2 APPLICATIONS

A. Provide anchoring systems that comply with the Building Code Requirements 	for Masonry Structures TMS 402-22.

B. ASTM A 36/A36M-14 Standard Specification for Carbon Structural Steel.

C. ASTM A1008/A1008M Sheet Metal Anchors and Ties (Plain Steel)

D. ASTM A153/A153M-16 Standard Specification for Zinc Coating (Hot-Dip) on 	Iron and Steel Hardware

E. Stainless Steel AISI [Type 304] [or] [Type 316]

F. ASTM A240/A240M-15b Standard Specification for Chromium and Chromium-	Nickel Stainless Steel Plate, Sheet, and Strip for Pressure Vessels and for 	General Application.

G. ASTM A666-15 Standard Specification for Annealed or Cold-Worked 	Austenitic Stainless Steel Sheet, Strip, Plate, and Flat Bar.

2.3 MATERIALS

- Anchors welded to Structural Steel:

Select the following:

130 CHANNEL SLOT

Stainless Steel: [16 gauge] [12 gauge] [11 gauge]

Hotdip Galvanized: 12 gauge

1-3/8 inches (35 mm) wide x 8 inches (203 mm) long

Stainless Steel: [Type 304] [Type 316]

PART 3: EXECUTION

A. Install as specified in applicable masonry or structural section(s).