#376 Rebar Positioner

SECTION 04 00 00 MASONRY

Section 04 05 19.26 Masonry Reinforcing Bars

Section 04 05 19.16 Masonry Anchors

PART 1: GENERAL

1.1 RELATED SECTIONS

A. Provide shop drawings for all product locations.

1.2 SUBMITTALS

A. Manufacturer Certificate of Compliance for materials.

B. Product Data: Manufacturer’s data sheet on each type of product 					    furnished.

PART 2: MANUFACTURER

2.1 MANUFACTURER

Acceptable Manufacturer:

Heckmann Building Products

110 Richards Ave.

Norwalk, CT 06854-1685

800-621-4140

Email: info@heckmannanchors.com

Website:  www.heckmannanchors.com

2.2 APPLICATIONS

A. Provide anchoring systems that comply with the Building Code Requirements 	for Masonry Structures TMS 402-16.

B. ASTM A153/A153M-16 Standard Specification for Zinc Coating (Hot-Dip) on 	Iron and Steel Hardware

C. ASTM A1008/A1008M Sheet Metal Anchors and Ties (Plain Steel)

2.3 MATERIALS

NO. 376 REBAR POSITIONER

[9 gage wire] [1” diameter eyes] [2” bends] [[8” block][12” block]

Material: Hotdip Galvanized After Fabrication

PART 3: EXECUTION

A. Install as specified in applicable masonry section(s).